{"text_format":"2","workbook":"xls","n_sheets":21,"sheets":["FleetKey Order Form","KeyLayout","Module1","Module3","Transaction","Module2","Module4","Module5","Module6","Module7","Module8","Module9","Module10","Module11","Module12","Module13","Module14","Module15","Module16","Module17","Module18"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":514,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Module1","index":2,"reason":"not_a_worksheet"},{"sheet":"Module3","index":3,"reason":"not_a_worksheet"},{"sheet":"Module2","index":5,"reason":"not_a_worksheet"},{"sheet":"Module4","index":6,"reason":"not_a_worksheet"},{"sheet":"Module5","index":7,"reason":"not_a_worksheet"},{"sheet":"Module6","index":8,"reason":"not_a_worksheet"},{"sheet":"Module7","index":9,"reason":"not_a_worksheet"},{"sheet":"Module8","index":10,"reason":"not_a_worksheet"},{"sheet":"Module9","index":11,"reason":"not_a_worksheet"},{"sheet":"Module10","index":12,"reason":"not_a_worksheet"},{"sheet":"Module11","index":13,"reason":"not_a_worksheet"},{"sheet":"Module12","index":14,"reason":"not_a_worksheet"},{"sheet":"Module13","index":15,"reason":"not_a_worksheet"},{"sheet":"Module14","index":16,"reason":"not_a_worksheet"},{"sheet":"Module15","index":17,"reason":"not_a_worksheet"},{"sheet":"Module16","index":18,"reason":"not_a_worksheet"},{"sheet":"Module17","index":19,"reason":"not_a_worksheet"},{"sheet":"Module18","index":20,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"FleetKey Order Form","index":0,"n_rows":200,"n_cols":23,"rows_kept":200,"cut":false,"hidden":false,"merged":[[2,17,2,19],[15,4,15,5],[17,6,17,7]],"flags":["formulas_cached_only"]}
["GASBOY FLEETKEY"]
["FUEL MANAGEMENT SYSTEM"]
["Account #:",null,null,null,"Purchase Order #:",{"$nulls":9},"Order Date:"]
[null,"Bill To:",{"$nulls":4},"Ship To:",{"$nulls":8},"System Owner:"]
[0,{"$nulls":21},0]
[0,{"$nulls":21},0]
[0,{"$nulls":21},0]
[]
["Gasboy Use Only:",null,null,null,"Order #:",null,null,null,"Order #:",{"$nulls":4},"Order #:",{"$nulls":4},"Order #:"]
["SYS ID:"]
["PIN #:"]
["REV #:"]
[{"$nulls":6},"PROGRAM CHANGES, COPIES, AND CONVERSION KITS"]
[null,null,"Program Changes and Copies (skip this section if new system order)"]
[null,"CPK002",null,"Program (indicate qty. & fill in program number below)",{"$nulls":11}," ",null,null,""]
[" ","Copy of Program #"]
[" ","Revision to Program #"]
[" ","Version Upgrade - Program #"]
[]
[null,"C35422",null,"IC, Programmed*",{"$nulls":11}," ",null,null,""]
[null,"*Important Note:"]
[null,"If you have a Fuel Point system, and the program change ordered above (CPK002) alters"]
[null,"any one of your configuration's field sizes, field names, or data formats (numeric vs. alphanumeric),"]
[null,"it is necessary for you to include a C35422 programmed chip with your order.  This required chip will"]
[null,"be used to apply all of your program changes to the Fuel Point VM programmer.  If the transaction"]
[null,"format is unaffected by the program change (ex. a feature is added or subtracted), the additional"]
[null,"chip for the programmer is not required. "]
[null,null,"Conversion Kits, 1000 to FleetKey (For revisions, fill out Section II)"]
[null,"C06334",null,"Series 1000 to single FleetKey",{"$nulls":11}," ",null,null,""]
[null,"C06335",null,"Series 1000 to dual FleetKey",{"$nulls":11}," ",null,null,""]
[null,"C06336",null,"Series 1000 w/ recpt. prntr to single FleetKey",{"$nulls":11}," ",null,null,""]
[null,"C06337",null,"Series 1000 w/ recpt. prntr to dual FleetKey",{"$nulls":11}," ",null,null,""]
[]
[null,"II. GASBOY FLEETKEY SOFTWARE CONFIGURATION"]
["Key, Vehicle Module (VM), & VM Programmer Data"]
[null,"For FleetKey configuration only, please complete the \"Key Data\" section."]
[null,"Complete the shaded area if Fuel Point is also required."]
["Match an existing Gasboy FleetKey format?  "]
["o","If Yes, fill in system owner.  "]
[{"$nulls":5},"to match"]
["o","If No, or for a first time Fuel Point configuration, please complete the form below."]
[0,null,null,"Key Data",{"$nulls":9},"Complete for Fuel Point Only"]
[0]
[0,{"$nulls":4},"","",null,null,"For Dual Key,",null,null,null,"Encode"]
[0,{"$nulls":4},"",null,null,null,"Encode On3:",null,null,null,"on VM5"]
["Key Data",null,"Field Name",null,"Type2",null,"Digits2",null,"Key 1",null,"Key 2",null,null,"Yes",null,"No"]
["Single or Emp. Key,",{"$nulls":5},""]
["or Vehicle Module",null,"Key1/VM",null,"N",null,5,"    4",{"$nulls":5},"  4",{"$nulls":4},"VM types4"]
["Vehicle Key",null,"Key2",null,"N",null,5,null,null,null,"  4",null,null,null,"N/A"]
["ID Field 11",null,null,"(EMP)",null,"(N)",null,4,"(4)"]
["ID Field 2",null,null,"(VEH)",null,"(N)",null,4,null,null,null,"(4)"]
["ID Field 3",null,null,"(DEPT)",null,"(N)",null,4,"(4)"]
["ID Field 4",{"$nulls":7},"(4)"]
[0,null,"Expiration Date8",null,"N",null,4,"    4",null,null,"  4"]
[0,null,"Product Limit8",null,"N",null,1,null,null,null,"  4"]
[0,null,"Product Auth8",null,"N",null,1,null,null,null,"  4"]
[0]
[null,"FleetKey/Fuel Point Software Configuration Instructions:"]
[null,"General:  Fill out the form for configuring keys and/or vehicle modules(VM).  If a blank is not completed, the default in "]
[null,"parentheses will be used.  If the Fuel Point Option is not selected, the first field name will be \"Key1.\"  "]
[null,"Key Data Section - "]
[null,"1. ID Fields:  Fill in ID field names for the ID fields desired (see VM field names below if Fuel Point is used).  Limit "]
[null,"    the number of fields and sizes to maximize transaction storage and simplify the encoding process."]
[null,"2. Type & Digits:  Indicate whether the field is numeric(N) or alphanumeric(A) and the number of digits in the field.  "]
[null,"    The maximum combined total length for all id fields is 20 digits or characters."]
[null,"3. For Dual Key, Encode On:  Check (4) which key the ID fields should be encoded on in a dual key operation."]
[null,"Fuel Point Section - "]
[null,"o"]
[null,"4. Vehicle Module Type(s):  Indicate whether single input or single and dual input modules will be programmed.  If "]
[null,"    single input is checked, the programmer will not prompt for entry of the second input."]
[null,"5. Encode on VM:  Check (4) yes or no under \"Encode on VM\" if the field should be recorded on the Fuel Point VM.  "]
[null,"    Fuel Point VM field names are currently limited to the following.  If a desired name is not listed, consult the factory."]
[null,"o"]
[null,null,"Account","Card",null,"DIV/Loc",null,"Job",null,null,null,"Patron",null,"Social Security",null,null,null,"Vehicle"]
[null,null,"Agency","Charge Code",null,"Driver",null,"License",null,null,null,"Route",null,"Stock",null,null,null,"Work Order"]
[null,null,"Asset","Clock",null,"Employee",null,"Manifest",null,null,null,"Security",null,"Tender Type"]
[null,null,"Badge","Department",null,"Equipment",null,"Manual",null,null,null,"Shift",null,"Track II"]
[null,null,"Bus","Division",null,"Fleet",null,"Participant ID",null,null,null,"SKU #",null,"Type"]
[null,"o"]
[null,"6. Not on Key: Check (4) if an ID field should be encoded on the VM, but not on the key."]
[" ","Master Authorizer Data"]
[null,"(Fuel Point only - skip if not being used)"]
[null,"Master Authorizers are pre-programmed with an identification number.  Indicate the master"]
[null,"authorizer(s) identification number(s) below.  This field displays under the Key1/VM field. "]
[null,"(e.g. if you ordered three authorizers you might select 9901, 9902, 9903 to make master authorizer "]
[null,"transactions stand out from your vehicle module and key transactions.)"]
[]
[]
["SOFTWARE OPTIONS "]
[null,"(Check options desired and complete requested information)"]
[null,"1. Options will decrease transaction storage."]
[null,"2. All combinations of options will not fit into a system.  To determine if the desired options will fit, add the "]
[null,"option size listed to the right of the option for the options selected.  The total size cannot exceed 5605. "]
[null,"The option sizes listed are approximate.  If the total option size you calculate comes within 6% of the  "]
[null,"maximum, call the Gasboy Order Department to ensure that selected options will fit. "]
[null,"3. Some option combinations have additional size requirements. The combinations and sizes are "]
[null,"listed in italics under the corresponding option."]
[null,"Place an \"x\" in desired options. Complete requested information."]
[{"$nulls":17},"Option Size"]
[null,"Fuel Point",{"$nulls":15},2786]
[null,"Provides capability to accept vehicle modules for hands-free"]
[null,"fueling authorization. Requires Fuel Point hardware."]
[null,"plus Allocation",{"$nulls":15},168]
[null,"plus Pump Switch Timer",{"$nulls":15},134]
[null,"plus MPG History",{"$nulls":15},154]
[null,"plus Extended Pump Timeouts",{"$nulls":15},-5]
[null,"plus Tank Monitor",{"$nulls":15},5]
[null,"Gate Control",{"$nulls":15},"N/A"]
[null,"Use a dedicated Series 1000 to control a gate.  "]
[null,"Only starred options (*) may be used with this option."]
[null,"Disable Memory Full Protection*",{"$nulls":15},"N/A"]
[null,"Automatically overwrites previous transactions when memory is full."]
[null,"Only available with Gate Control Option."]
[null,"Receipt Printer",{"$nulls":15},2663]
[null,"Generate receipts for fueling transactions."]
[null,"Receipts are not available for Fuel Point transactions."]
[null,"plus Manual Entry",{"$nulls":15},22]
[null,"plus Off-site Fueling",{"$nulls":15},22]
[null,"plus Loadable Base Pump",{"$nulls":15},11]
[null,"plus AP w/Data Entries",{"$nulls":15},4]
[null,"plus Delivery & Dipstick",{"$nulls":15},27]
[null,"plus Supervisor",{"$nulls":15},-54]
[null,"Multiple Receipts"]
[null,"Receipt printer option.  Prints multiple (1-3) copies of a receipt.",{"$nulls":15},116]
[null,"Manual Entry*",null,"",{"$nulls":13},152]
[null,"field name",null,null," # of digits "]
[null,"Additional keypad entry field."]
[null,"Lockout on Manual Entry",{"$nulls":15},345]
[null,"Locks out by manual entry field (4-digit only)."]
[]
[]
[null,"AP with Data Entries*",{"$nulls":15},233]
[null,"Allows entry of account data and odom. when activating a pump via data terminal."]
[null,"plus Manual Entry",{"$nulls":15},8]
[null,"plus lockout on Manual Entry",{"$nulls":15},57]
[null,"plus Fuel Allocation",{"$nulls":15},235]
[null,"plus MPG History",{"$nulls":15},108]
[null,"MPG History",null,""]
[null,"ID Field #",null,""]
[null," # of records",null,""]
[null,"Transaction MPG standard.  Calculates and maintains cumulative miles-per-gallon ",{"$nulls":15},1873]
[null,"tally for keyholders based on specified ID field."]
[]
[null,"Fuel Allocation      ",null,"",{"$nulls":15},1820]
[null,"ID Field #, or K",null,""]
[null,"# of Totalizers",null,""]
[null,"Allocate predetermined amounts of fuel to users (must be numeric key encoded field)."]
[null,"Additional Lockout Blocks*",{"$nulls":4},""]
[null,"# of EXTRA blocks",{"$nulls":4},""]
["","TOTAL BLOCK LOCKOUTS"]
["","Increase lockouts by 10,000 users.  Standard lockout is one block (00000-09999).  ",{"$nulls":16},0]
[null,"Each extra block adds 10,000 lockouts (i.e., 2 total # blocks provides lockouts 00000-19999)."]
[null,"Maintenance Messages",{"$nulls":15},2621]
[null,"Set up/enforce vehicle maintenance schedule and display maintenance due "]
[null,"messages on LCD.  Requires KE200 Key Encoder/Maintenance Terminal (C06292)."]
[null,"Hours",{"$nulls":15},0]
[null,"Provides HOURS prompts instead of ODOMETER at the LCD, and hours and elapsed hours "]
[null,"headings in transaction, when fuel consumption is monitored by an hour meter."]
[null,"Encoding at Island Reader*",{"$nulls":15},2310]
[null,"Encode keys (numeric data only) using the FleetKey system."]
[null,"plus Supervisor",{"$nulls":15},213]
[null,"plus Dipstick & Delivery",{"$nulls":15},-8]
[null,"Off-Site Fueling Transactions",{"$nulls":15},634]
[null,"Enter transactions for vehicles that fueled at a non-FleetKey location."]
[null,"plus AP w/Data Entries",{"$nulls":15},-83]
[null,"plus Manual Entry",{"$nulls":15},21]
[null,"plus AP Entries & Manual Entry",{"$nulls":15},-15]
[null,"plus MPG History",{"$nulls":15},217]
[null,"Loadable Base Pump",{"$nulls":15},242]
[null,"Assign different sequential pump numbers at sites having multiple FleetKey systems."]
[null,"Multi-Level Password*",{"$nulls":15},582]
[null,"Allow two-level password access:  super user: all commands; standard user: "]
[null,"commands authorized by super user."]
[null,"Supervisor Key*",{"$nulls":15},614]
[null,"Specially encoded key allowing manual entry of key information at "]
[null,"the FleetKey system keypad."]
[null,"Delivery and Dipstick",{"$nulls":15},595]
[null,"Accept and record fuel delivery and dipstick reading data at the FleetKey system."]
[]
[null,"Tank Monitor",{"$nulls":15},410]
[null,"Communicate with a Veeder-Root TLS tank monitoring system.  "]
[null,"Requires C05920 auxiliary communication port."]
[null,"Extended Pump Timeouts",{"$nulls":15},100]
[null,"Extend the standard maximum timeout from 180 seconds to 3600 seconds (1 hour)."]
[null,"Pump Switch Timer",{"$nulls":15},454]
[null,"Prevent fueling at a pump when handle has been left on."]
[]
["o",{"$nulls":18},"Total Size of Options"]
[{"$nulls":19},"Total Size cannot exceed*"]
[{"$nulls":19},"Revised Option Size"]
[]
[null,"Removable Software Features"]
[null,"*If, after calculating your software options, the total size exceeds 5605; or, if you wish to maximize"]
[null,"your transactions, you may choose to remove one or both of the following standard features:"]
[null,"Remove Expanded Sort (SS/ST)",{"$nulls":15},-1489]
[null,"Remove Expanded Help",{"$nulls":15},-1279]
["o",{"$nulls":18},"Revised Option Size"]
[]
["o",{"$nulls":7},"APPROXIMATE NUMBER OF TRANSACTIONS"]
["o",{"$nulls":7},"THAT CAN BE STORED:",697]

{"sheet":"KeyLayout","index":1,"n_rows":228,"n_cols":15,"rows_kept":228,"cut":false,"hidden":false,"merged":[[6,6,6,7]],"flags":["formulas_cached_only"]}
["Gasboy "]
["FleetKey Layout"]
["System Order #(s):",0,0,0]
[null,0,0,0]
[null,0,0,0]
[null,0,0,0,null,"Revision No:",0]
[{"$nulls":5},"Revision Date:","2007-02-26"]
["System Owner:",0,null,"Bill To:",0,null,"System ID:",0]
[null,0,null,null,0,null,"Pin #",0]
[null,0,null,null,0]
[]
[null,null,null,"Field",null,"Single","Dual","Dual"]
[null,null,null,"Size","Type","Key","Emp.","Veh."]
[null,"Key Type:",null,1,"N","x",1,2]
[null,"System ID:",null,4,"N","xxxx","xxxx","xxxx"]
[null,"Key Number:",null,5,"N","xxxxx","xxxxx","xxxxx"]
[null,"ID Field 1:","EMP","4","N","xxxx","xxxx","----",null,"EMP","4","N","xxxx","xxxx","----"]
[null,"ID Field 2:","VEH","4","N","xxxx","----","xxxx",null,"VEH","4","N","xxxx","----","xxxx"]
["","ID Field 3:","DEPT","4","N","xxxx","xxxx","----",null,"DEPT","4","N","xxxx","xxxx","----"]
[null,"ID Field 4:","","","","","",""]
[null,"ID Field 5:"]
[null,"ID Field 6:"]
[null,"ID Field 7:"]
[null,"ID Field 8:"]
[null,"Exp. Date",null,4,"N","xxxx","xxxx","xxxx"]
[null,"Prod. Limit",null,1,"N","x"," -","x"]
[null,"Prod. Auth",null,1,"N","x"," -","x"]
[null,"Price Level",null,1,"N","x"," -","x"]
[null,"Check Digit",null,1,"N","x","x","x"]
[null,"Prev. Odom",null,7,"N","x"," -------","xxxxxxx"]
[null,"Last Odom",null,7,"N","xxxxxxx"," -------","xxxxxxx"]
[null,"Reas. Chk. Digit",null,1,"N","x"," -","x"]
[null,"Odom. Retries",null,2,"N","xx"," --","xx"]
[null,"Min. Miles",null,4,"N","xxxx"," ---- ","xxxx"]
[null,"Max. Miles",null,4,"N","xxxx"," ---- ","xxxx"]
[null,"Veh. Class",null,2,"N","xx"," --","xx"]
[null,"Maint. A Odom",null,7,"N","xxxxxxx"," -------","xxxxxxx"]
[null,"Maint. A Date ",null,6,"N","xxxxxx"," ------","xxxxxx"]
[null,"Maint. B Odom",null,7,"N","xxxxxxx"," -------","xxxxxxx"]
[null,"Maint. B Date",null,6,"N","xxxxxx"," ------","xxxxxx"]
[null,"Maint. C Odom",null,7,"N","xxxxxxx"," -------","xxxxxxx"]
[null,"Maint. C Date",null,6,"N","xxxxxx"," ------","xxxxxx"]
[null,"PIN",null,4,"N","xxxx","xxxx","xxxx"]
{"$rows_empty":81}
[null,null,"emp",null,"n",null,4]
[null,null,"veh",null,"n",null,4]
{"$rows_empty":90}
[null,null,null,""]
[null,null,null,""]
[null,null,null,""]
[]
[]
[]
[null,null,null,""]
[null,null,null,""]
[null,null,null,""]
[]
["x"]
[2]

{"sheet":"Transaction","index":4,"n_rows":69,"n_cols":7,"rows_kept":69,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[null,"DO NOT USE THIS FORM"]
[null,"CHANGING THIS FORM WILL INVALIDATE TRANSACTION STORAGE CALCULATION"]
[null,"Transaction Storage Calculation"]
[]
[null,"Field Name","A or N","No. of Digits","Truncated amount"]
[null,"Emp.","N",2.5,2]
[null,"Vehicle","N",2.5,2]
[null,"Dept.","N",2.5,2]
[null,"  "," ",false," "]
[null,null,null,"Subtotal of ID field bytes",6]
[]
[null," ",null," "," "]
[null," ",null,null," "]
[null," ",null,null," "]
[null,null,null,"TOTAL NO. OF BYTES IN TRANSACTION RECORD",35]
[]
[null,"Number of ROM bytes used"]
[null,null,null,"Standard Deduction",31244]
[null,null,null,"Total From Software Options, Previous Page",0]
[null,null,null,"ROM Total",31244]
[]
[null,"Number of RAM bytes used"]
[null,"Subtotal of ID field bytes:",null,6,60]
[null,"Receipt Printer",null,null,""]
[null,"Multiple Receipts",null,null,""]
[null,"Manual Entry",null,"",""]
[null,"Manual Entry Lockout",null,null,""]
[null,"AP w/Data Entries",null,null,""]
[null,"AP w/Data Entries and Off-Site Fueling",null,null," "]
[null,"MPG History",null,null,"",0,2]
[null,"MPG Hist w/ AP entries",null,null,""]
[null,"MPG w/off-site Fueling",null,null,""]
[null,"Fuel Allocation",null,null,"",1]
[null,"Fuel Alloc w/ AP entries",null,null,""]
[null,"Additional blocks of lockout",null,null,""]
[null,"Maintenance",null,null,""]
[null,"Encoding",null,null,""]
[null,"Encoding w/ Supervisor Keys",null,null,""]
[null,"Off-Site Fueling",null,null,""]
[null,"Loadable Base Pump",null,null,""]
[null,"Multi-Level Password",null,null,""]
[null,"Password w/ allocation",null,null,""]
[null,"Password w/MPG History",null,null,""]
[null,"Password w/ maintenance",null,null,""]
[null,"Supervisor keys",null,null,""]
[null,"Delivery and Dipstick",null,null,""]
[null,"Tank Monitor Interface",null,null,""]
[null,"Extended Timeouts",null,null,""]
[null,"Pump Switch Timer",null,null,""]
[null,"Fuel Point",null,null,""]
[null,"FP w/ allocation",null,null,""]
[null,"FP w/ pump switch timer",null,null,""]
[null,"FP w/ receipt",null,null,""]
[null,null,null,"RAM Total",60]
[]
[null,"Available Transaction Space"]
[null,"ROM Total",31244]
[]
[null,"RAM Total",60]
[null,"Bytes",8192]
[null,"RESERVED RAM",8252]
[]
[null,"default #",32961]
[null,"reserved ram",8252]
[null,"TRANSACTION SPACE",24709]
[]
[]
[null,"APPROXIMATE NUMBER OF TRANSACTIONS"]
[null,"THAT CAN BE STORED:",null,697.9714285714285]